## Slide 1: Magnetic Optimization of a 6 T Helmholtz Coil for an Electron Beam Ion Trap (EBIT)
J. L. Rudeiros Fernández
SMP Technical Meeting

## Slide 2: Table of contents
J. L. Rudeiros Fernandez et al.
Introduction to Helmholtz coils
Initial design
Magnetic optimization
Next steps

## Slide 3: 1. Introduction to Helmholtz coils
J. L. Rudeiros Fernandez et al.
R
R

## Slide 4: 2. Initial design
J. L. Rudeiros Fernandez et al.
Conductor and winding assumptions:
Nb3Sn strand 0.6 mm diameter.
Glass fiber insulation of thickness 50 um.
Hexagonal packing winding.
  Central target field: 6 T at 4.2 K

## Slide 5: 2. Initial design
J. L. Rudeiros Fernandez et al.
  Central target field: 6 T at 4.2 K

## Slide 6: 2. Initial design
J. L. Rudeiros Fernandez et al.
  Central target field: 6 T at 4.2 K
Central field uniformity
Field uniformity (objective of 0.02 % along 20 mm in the axis at 100 um)

## Slide 7: 2. Initial design
J. L. Rudeiros Fernandez et al.
  Central target field: 6 T at 4.2 K
Field angular deviation @ 2 mm from center

## Slide 8: 2. Initial design
J. L. Rudeiros Fernandez et al.
  Central target field: 6 T at 4.2 K
Operational margin

## Slide 9: 2. Initial design
J. L. Rudeiros Fernandez et al.
  Central target field: 6 T at 4.2 K
Diameter: 5.5 in = 139.7 mm
5.25 in = 133.35 mm
4 in = 101.6 mm
2.5 in = 63.5 mm

## Slide 10: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
where
Field uniformity (objective of 0.02 % along 20 mm in the axis at 100 um)

## Slide 11: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
Central field uniformity

## Slide 12: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
Coil 1
Coil 2

## Slide 13: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
Coil 1
Coil 2

## Slide 14: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
Magnet system requirements | 
Parameter | Value
Electromagnetic | 
Considered superconductor materials | NbTi, Nb3Sn
Central target field | 6 T
Nominal operational temperature | 4.2 K
Nominal operational electromagnetic margin | Not defined
Power supply limitation/ Current on the strand | ALARA
Protection system/ requirements | Not defined
Max inductance | Not defined
Field quality requirements | 
Volumetric definition of region of interest | Central cylinder: 20 mm length x 100 µm diameter
Maximum field variation along the axis | 0.02%
Angular deviations of field lines in the boundary of region of interest | ≤ 0.3 mrad
Thermo-mechanical | 
Impregnation resin radiation resistance requirement | Not defined
Cryogenic system (final configuration) | Cryocooler
Available cooling power (final configuration) | 1.5 W
Bobbin material | Not defined
Geometrical | Not well defined
Max stress in conductor | Not defined
Structural safety margin | Not defined

## Slide 15: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
Optimization based on a genetic algorithm
Boundary conditions
Python program
Analytical model
Objective
Maximization of the operational margin.
Field uniformity of 0.02 % along 20 mm in the axis
Winding constraints

## Slide 16: 3. Magnetic optimization
J. L. Rudeiros Fernandez et al.
Initial results
ID | y_dim (m) | x_dim (m) | Load line % | Central variation (%) | By_mean (T) | Central separation (m) | inner_radius (m) | outer_diameter (m) | Current (A) | Conductor material | Equivalent current density (A/m2)
Original design | 0.025 | 0.020 | 80 | 0.046 | 6 | 0.026 | 0.076 | 0.116 | 291 | nb3sn | 668044077.1
1 | 0.043 | 0.066 | 45 | 0.020 | 5 | 0.020 | 0.066 | 0.198 | 55 | nb3sn | 126021625.3
2 | 0.040 | 0.051 | 55 | 0.020 | 6 | 0.022 | 0.071 | 0.173 | 85 | nb3sn | 194302915.7
3 | 0.042 | 0.037 | 58 | 0.021 | 6 | 0.022 | 0.079 | 0.153 | 114 | nb3sn | 262445211.2
4 | 0.029 | 0.025 | 70 | 0.031 | 6 | 0.026 | 0.078 | 0.128 | 213 | nb3sn | 489793634.1
5 | 0.063 | 0.079 | 54 | 0.017 | 6 | 0.020 | 0.081 | 0.239 | 47 | nbti | 108206960.3
6 | 0.040 | 0.040 | 71 | 0.020 | 6 | 0.022 | 0.076 | 0.155 | 109 | nbti | 250219453.6
7 | 0.053 | 0.053 | 61 | 0.020 | 6 | 0.020 | 0.079 | 0.185 | 72 | nbti | 164530068.9
8 | 0.050 | 0.051 | 62 | 0.020 | 6 | 0.020 | 0.077 | 0.180 | 75 | nbti | 172834064.3
9 | 0.048 | 0.046 | 64 | 0.018 | 6 | 0.020 | 0.077 | 0.170 | 84 | nbti | 192813462.8
10 | 0.046 | 0.036 | 71 | 0.020 | 6 | 0.020 | 0.080 | 0.151 | 108 | nbti | 249019823.2
11 | 0.038 | 0.046 | 71 | 0.021 | 6 | 0.026 | 0.079 | 0.171 | 104 | nbti | 237991829.7
12 | 0.036 | 0.042 | 74 | 0.021 | 6 | 0.026 | 0.079 | 0.163 | 114 | nbti | 262737075.3
13 | 0.036 | 0.042 | 75 | 0.020 | 6 | 0.026 | 0.078 | 0.163 | 117 | nbti | 269290746.1
14 | 0.039 | 0.040 | 74 | 0.021 | 6 | 0.024 | 0.079 | 0.158 | 115 | nbti | 264352596.4
15 | 0.037 | 0.040 | 75 | 0.020 | 6 | 0.024 | 0.078 | 0.157 | 119 | nbti | 273254690.1
x_dim
inner_radius
y_dim
Central_separation

## Slide 17: 4. Next steps
J. L. Rudeiros Fernandez et al.
Fix the preliminary design based on the solutions found through the genetic algorithm. Prepare a general specification document for review, and start the procurement of the conductor.
Magnet protection.
Mechanical analysis and Engineering design.
Prototyping.
Coil manufacturing.
Testing.

## Slide 18: Thanks!
J. L. Rudeiros Fernandez et al.