## Slide 1
US Magnet Development Program
Performance Analysis and Enhancement (status)
MDP Meeting
January 15, 2025
Piyush Joshi3, Vadim Kashikhin1, Michael Kifarkis1, Steve Krave1, Maxim Marchevsky2 ,
Stoyan Stoynev1, Giorgio Valone2, Xiarong Wang2, Xingchen Xu1
1Fermi National Accelerator Laboratory
2Lawrence Berkeley National Laboratory
3Brookhaven National Laboratory
The people in the list receive regular
invites for discussions and updates
(after they expressed a will for that).

## Slide 2: Contributions
Calls for contributions resulted in the following topics of interest:
Exploring the QCD (and CLIQ) capabilities to learn more about underlying coil training mechanisms
and possibly other performance drivers/limitations
Investigating and establishing friction as a tunable parameter to affect (magnet) performance
Determining performance dependencies on loading parameters (reproducibility)
Emulating magnet conditions by a dedicated device /together with Materials and Conductors/
(a tool for exploration and testing with broad application)
The Area will also be a (non-exclusive) forum to discuss analyses and results from various testing campaigns
- magnets and non-magnets
- LTS and HTS
It is crucial to explore inter-Area connections.
It is open, people are free to share and converse with Area participants in dedicated meetings;
or get notifications of relevant discussions taking place elsewhere
QCD
Mechanical
oscillations
Magnet assembly and loading
Magnet conditions emulator

## Slide 3: Broader goals
Magnet conditions emulator: Enable magnet performance exploration through sustainable means:
satisfying Reproducibility, Statistics, Timing, Simplicity, Cost requirements;
establish unique in the world test-capabilities (including vector-force manipulation
in external magnetic field);
explore fundamental and underlying phenomena in magnets through their proxies
QCD: Accumulate test/training statistics with QCD, including from magnets with bad training memory;
Explore potential differences on coil action between QCD and CLIQ;
Parametrize and study the effect of “overcurrent”, explore the fundamentals driving dependencies,
improve simulations of current transients in magnets
Mechanical oscillations: Explore mechanical oscillation to mitigate friction-dependent magnet performance drivers.
Design and commission devices able to affect magnet performance (training, stability, protection).
Magnet assembly and loading: Explore training and training control, performance in coils by
magnet reassembly and reloading;
Investigate differences between single-coil and multi-coil training
(in dedicated magnet structures)

## Slide 4: Roadmap
2035
2025
2030
Vibration and friction - establishing research, “samples”, dependencies
Efficient mechanical oscillation transfer to LN
Mechanical oscillations and performance in model magnets
Studies on magnet-design-dependent applications
Design/Procurement of practical mechanical oscillation-based devices for enhanced performance
Mechanical Oscillations
Reproducible
sample tests
Efficient mechanical oscillation transfer to LHe
Training elimination through QCD – more magnet tests/data
Dedicated magnet tests using coils with no training memory, effect on retraining, detraining
Exploration of overcurrent dependencies with QCD – reproducible samples/magnets
Physics simulation improvements: force evolution and observable parameters;
refined effects of CLIQ/QCD on the conductor
QCD
QCD and conditions limits exploration (temperature, power supply current)
Mini-QCD implementations and effects in bifilar coil designs
Magnet/coil training
Reproducibility in coil reloading/reassembly
Single- vs Multi-coil phenomena

## Slide 5: Roadmap
2035
2025
2030
Small-scale MConE prototype
Establishing of experimental procedures
Development of reproducible samples and simulations
Exploration of phenomena by controllable samples
Optimization of testing conditions and data acquisition
MConE - design and fabrication
Magnet
Conditions
Emulator
(MConE)
Tunable sample performance
/ /
MConE - establishing it as a core development tool
Joint with Materials and Conductors Area

## Slide 6: Narrative, some feedback
The QCD exploration will rely on “sub-samples” as well as on magnets
  With time, “sub-samples” should become the main tool to gain new knowledge
QCD can be used on any magnet where we have at least ~ 20 ms time margin for quench detection purposes
Integration with other developments/areas (where magnet training is not welcome) is desirable
Although not explicitly mentioned, it is understood that all test objects will be instrumented as best as possible,
the intent is to take abundant information (“sub-samples”, magnets)
those will be available for analysis in various contexts
integration with Materials, Diagnostics, Simulations areas are implied, should be pursued
Friction experiments – it was noted that demonstrating transfer of vibrational energy to the conductor in an
actual magnet (model) is missing from goals
at the same time other goals might have been too straightforward (unworthy to be goals) –
like energy transfer to LHe environment
we will continue updating and reassessing goals regularly, and gladly follow up on feedback

## Slide 7: Short-term plans (~ end FY)
AUP (short) “mirror” magnet – QCD, quench analysis, dedicated instrumentation, diagnostics, ML data
Friction experiments – establishing the basics, acquiring skills and know-how, introducing those to our field
Developing the initial setup for testing of samples in cryo conditions in variable I, B, S (with Materials area)

## Slide 8: Milestones
M2.1
M1.1
Mike will talk about M2.1 (friction).
M1.1 is continuing exploration of QCD. So far there was one magnet test with it, and there was somewhat related
statistical analysis on AUP training data in relation to CLIQ. It was always the plan to have another test with QCD
and an AUP mirror magnet is being assembled (for the last two and a half years). It also serves as a test bed for other
instrumentation studies (part of Diagnostics and Protection milestones). The magnet is expected to be assembled in
the next few months and tested by the end of summer.
Following the milestone schedule will depend on what we can afford to do and relevant priorities (which change over time)

## Slide 9: Shared milestones
Milestones are being developed and roadmap finalized for “MConE” (magnet conditions emulator)
The topic is in coordination with Materials Area
MConE (emulating magnet conditions) is developed through prototypes,
which by themselves are partial representatives of MConE, and are driven by Materials requirements
They will fulfil specific goals; the schedule is driven by Materials And Conductors and supporting infrastructure
MConE milestones expand on that
MConE is aimed to be a test-bed (tool) for variety of magnet-related research
(that is, a non-magnet setting for magnet development)

## Slide 10: MConE milestones
- A milestone in Material and Conductors; serves as a prerequisite for subsequent developments (milestones) here

## Slide 11: Back up
Milestones:
https://docs.google.com/spreadsheets/d/1SW1r3z0vKv8bkSPEb9bw51HyIMRt7YtO/edit?gid=2122620354#gid=2122620354
There was a presentation/discussion
in the MDP meeting on 10/28/2024 as well

## Slide 12: Milestones
Magnet Conditions Emulator (MConE)
# | Milestone title | Date | Requester
M1 | Small-scale MConE at FNAL/Stand3 – MConE.0.1 | 05/31/2025 | S. Krave
M2 | Establishing a main sample design and fabrication procedure | 8/31/2025 | S. Krave
M3 | First comparative results from the small-scale MConE | 12/31/2025 | S. Krave
M4 | Demonstrate “identical” sample testing in controllable temperature/current/magnetic field/stress conditions in MConE.0.1 (reproducibility) | 8/31/2026 | S. Stoynev
M5 | Creating the basis of simulation software to explore data from tested samples – electro-mechanical, multi-physics, transient response, performance modeling | 6/31/2027 | S. Stoynev
M5 | Design and procurement of main components for MConE (specifically, a specialized pressure device) - HF-VMTF operation | 12/31/2027 | S. Krave / S. Stoynev
 | Fabrication and commissioning of MConE | 12/31/2028 | S. Krave / S. Stoynev
M6 | Demonstrate “identical” sample testing in controllable temperature/current/magnetic field/stress conditions – MConE | 08/31/2029 | S. Stoynev
M7 | Demonstrate controllable sample performance | 12/31/2029 | S. Stoynev
M8 | Establish limitations of testing conditions and relevant options for expanding the phase space | 06/30/2030 | S. Stoynev
M9 | Demonstrate simulation software quality given accumulated data | 09/30/2030 | S. Stoynev
/ /
GOALS: Enable magnet performance exploration through sustainable means:
satisfying Reproducibility, Statistics, Timing, Simplicity, Cost requirements;
establish unique in the world test-capabilities (including vector-force manipulation in external magnetic field);
explore fundamental and underlying phenomena in magnets through their proxies
LTS/HTS
Joint with
Materials area

## Slide 13: Milestones
# | Milestone title | Date | Requester
Q1 | Testing with two (more) untrained magnet models, different designs | 03/31/2026 | S. Stoynev
Q2 | Testing with two magnet models of no/bad training memory, different designs | 03/31/2027 | S. Stoynev
Q3 | Suggest relation limitations between QCD and CLIQ regarding coil training | 12/31/2027 | S. Stoynev
Q4 | Determine main training relations to “overcurrent” parameters using reproducible “samples”/magnets | 12/31/2027 | S. Stoynev
Q5 | Determine main training relations to “overcurrent” at varying application conditions (temperature, power supply current) | 12/31/2028 | S. Stoynev
Q6 | Demonstrate transient simulations can describe observations (make improvements) | 06/30/2029 | S. Stoynev
QCD
GOALS: Accumulate test/training statistics with QCD, including from magnets with bad training memory;
Explore potential differences on coil action between QCD and CLIQ;
Parametrize and study the effect of “overcurrent”, explore the fundamentals driving dependencies,
improve simulations of current transients in magnets
Nb3Sn

## Slide 14: Milestones
GOALS: Explore mechanical oscillation to mitigate friction-dependent magnet performance drivers.
Design and commission devices able to affect magnet performance (training, stability, protection).
# | Milestone title | Date | Requester
M1 | Determining friction coefficients at interfaces relevant for SC magnets and their dependences on different environments (temperature, stress, humidity, smoothness of contact surface)​ | 8/01/2025 | M. Kifarkis
M2 | Introducing vibration techniques to mitigate frictional contact between superconducting magnet materials​ | 7/01/2026 | M. Kifarkis
M3 | Determining relevant vibrational parameters to mitigate friction such as amplitude, power, frequency, damping ratio, mass, etc​ | 3/01/2027 | M. Kifarkis
M4 | Developing a method to effectively transfer mechanical oscillations in cryogenic environments​ | 5/01/2028 | M. Kifarkis
M5 | Conducting first test involving induced mechanical vibrations in a magnet (model)​ | 11/01/2030 | M. Kifarkis
Mechanical Oscillations
LTS,
HTS

## Slide 15: Milestones
GOALS: Explore training and training modification in coils by magnet reassembly and reloading;
Investigate differences between single-coil and multi-coil training (in dedicated magnet structures)
# | Milestone title | Date | Requester
T1 | Establish full testing cycles for coil reloading, characterize observations | 12/31/2026 | S. Stoynev
T2 | Establish full testing cycles for magnet reassembly, characterize observations | 12/31/2028 | S. Stoynev
T3 | Explore available data and/or additional testing to conclude on training dependencies | 06/30/2030 | S. Stoynev
T4 | Repeat studies with multi-coil magnets and conclude on coil vs magnet training | 12/31/2032 | S. Stoynev
Coil/magnet training dependencies on assembly and loading
Nb3Sn,
Cos