DICER64: Upgraded capabilities of a neutron transmission

instrument at LANSCE

S. Chasapoglou1, A. Stamatopoulos1, E. Renner1, J. Jorgenson1

- Physics Division, Los Alamos National Laboratory, 87545, NM, USA

The Device for Indirect Neutron Capture Experiments on Radionuclides (DICER) has been

developed at the Los Alamos Neutron Science CEnter (LANSCE) to measure the transmission of

neutrons, producing accurate nuclear data on very small radioactive samples, by tightly

constraining the neutron capture cross sections through resonance analysis. At the moment,

DICER utilizes a 32 m source-to-detector distance, and it can be used to study about 50

radionuclides.

A 64 m detector station is currently being developed, employing 6Li-glass and CLYC scintillator

detectors. The longer flight path will improve the neutron energy resolution enabling the study of

more radionuclides with smaller level spacing, extending the instrument’s capabilities. The

progress towards this high-resolution upgraded instrument will be presented.