## Slide 1: Detector Modeling for Associated Particle Imaging
Seth McConchie
WANDA 2020
2020 March 3-5

## Slide 2: Associated Particle Imaging
Source neutron emission time and direction identified with alpha detection
Time-of-flight measurement with directional information improves transmission contrast by reducing background from scatter
Material characterization (low-Z, fissionable, etc.) made possible with alpha detection
a
n
d+
API D-T neutron generator
Detector
Item to be characterized
Time of flight (ns)
Counts per alpha
D-T NG (n,n’𝛾)
Transmission and small angle elastic scattering neutrons
Fission neutrons
Low-Z elastic scatter neutrons
More gammas
Item gammas (n,n’𝛾) and (n,f)
Detector
Poly block
Lead shield
DU annulus
Transmission Radiograph
Hydrogenous material Fissionable material

## Slide 3: Neutron Source and Alpha Detector Modeling
Geant4 used to model light transport and design light guides (no known data needs)
Modeling of alpha transport, photosensor/readout response, and angular resolution of 14 MeV neutron unneeded (for now)
a
n
d+
API D-T NG
n’
𝛾
Light
guide
Scintillator
Fiber optic faceplate
Inside NG
Outside NG
Position sensitive PMT
Not shown
Item
Detector
Data acquisition
Cu, Fe (n,n’𝛾)
Inelastic scatter gammas from copper and steel in NG are 50% higher in G4 model and spectrum is harder
Neutron interactions within the NG widen the neutron cones and increase scatter background
Potential need to improve nonelastic data for Cu and Fe for modeling performance
Model
Data
Light

## Slide 4: Detector Modeling
Detector design relies on light transport and measurement calibration involves matching light output and thresholds until efficiency is accurately modeled (no known data needs)
Neutron interactions in the detector materials contribute to scatter background that affects image reconstruction performance, especially when the background terms are estimated with a model
Detector array
API D-T NG
PSD plastic
Position response
Thermal n
n
g
Pulse-shape response
“Block” detector
Scintillator
block
PMTs
LiF/ZnS phosphor
Potential need to improve nonelastic data for Al, C, etc. for modeling performance

## Slide 5: Item Modeling
Image reconstruction involves neutrons and gammas at various numbers, scatter angles, and energies, so accurate final state models are important for predicting performance
Modeling is used currently to extract signal from background but should be used to understand absolute values in images (not just relative contrast)
Transmission
Doubles
Steel
DU
Steel
Tungsten
HDPE
3D recon overlay
Transmission
1H elastic
3D recon overlay
W, Fe, C inelastic
gammas
Inelastic gamma overestimates:
Tungsten: 1.90
Steel: 2.84
HDPE: 2.55